## Slide 1: Event management in Multivariate Streaming sensor DATA
National and Kapodistrian University of Athens

## Slide 2: Event Management in Sensor Network
Notes: Describe the schema

## Slide 3: What is an event?
The term “event” is used to describe an alteration on one or more variables monitored by the system
Two kinds of processing modules with respect to an event
  Online event processing: focuses on real event detection, identification of time dependent correlations and causalities
  Offline event processing: event storage, post-processing of stored events and data -warehousing

## Slide 4: Online event processing

## Slide 5: Event/Change Detection
Sensor streams arrives as raw data that provide instant measurements
Generation of event streams over an existing set of sensor streams
The problem concerns both detecting whether or not a change has occurred, or whether several changes might have occurred, and identifying the times of any such changes.

## Slide 6: Event/Change detection algorithms
Change detection algorithms
  Cumulative Sum (CUSUM)
  Shewhart Controller
  Multivariate Autoregressive Model (MAR)

## Slide 7: CUSUM(1/3)
The input parameters for the CUSUM algorithm are the following:
  the target value μ
  the above-tolerance value
  the below-tolerance value
  the above-threshold value
  the below-threshold value
The output parameters for the CUSUM algorithm are the following:
  the above-detection signal {0,1}
  the below-detection signal {0,1}

## Slide 8: CUSUM (2/3)

## Slide 9: CUSUM (3/3)
Experiment set up
  μ = 0.5
  = = 1.3

## Slide 10: Shewhart Controller (1/3)
In the Shewhart control chart, a variable is detected to deviate at time t from its normality whenever exceeds one of the control limits
Control limits
  Upper Control Limit (UCL)
    +
  Lower Control Limit (LCL)
    = -

## Slide 11: Shewhart Controller (2/3)

## Slide 12: Shewhart Controller (3/3)

## Slide 13: Multivariate Autoregressive (MAR)

## Slide 14: Multivariate Autoregressive (MAR)

## Slide 15: Event Correlation
Technique for making sense of a large number of events and pinpointing the few events that are really important in that mass of information
Accomplished by looking for and analyzing relationships between events.
Implemented by a piece of software called “event correlator”

## Slide 16: Event correlation: step-by-step
Event filtering
  consists in discarding events that are deemed to be irrelevant by the event correlator
Event aggregation
  a technique where multiple events that are very similar (but not necessarily identical) are combined into an aggregate that represents the underlying event data
Event masking
  consists in ignoring events pertaining to systems that are downstream of a failed system
Root cause analysis
  It consists in analyzing dependencies between events, based for instance on a model of the environment and dependency graphs, to detect whether some events can be explained by others

## Slide 17: Event Correlation Engine (ECE)
Typical event correlation scheme (univariate data)
  A transition from object (i.e., event or sequence of events) A to object B occurs if and only if B occurs immediately after A (i.e., not within a time window).
  Only one object is considered at each step of the sequence (i.e., there are no objects occurring at the same time).
Event correlation over multivariate sensor data
  an alerting situation or a malfunctioning system is expected to lead to several events triggered at the same time step.

## Slide 18: Correlation of Multivariate Event Data
Stepwise correlation
  Based on a first order Markov chain
Variable-order correlation of Multivariate Event Data
  Based on idea of partial matching [Fan et al. 1999]
Event correlation based on sliding window
  Hybrid scheme that correlates events within a time window

## Slide 19: Stepwise Correlation

## Slide 20: Variable-order correlation
Partial matching algorithm [Fan et al.199]

## Slide 21: Variable-order correlation

## Slide 22: Sliding window algorithm
Address time dependencies among events within a specific timeframe
At each the algorithm the algorithm recalculates probability values with respect to a sliding window taking into account the new event vector arrived at the current time step t
The algorithm has memory of exactly w time steps
Directed graph G=(V, E) where V=P(I) is the power set of I={}
Graph Vertexes :
Weighted transition edge:

## Slide 23: Sliding window algorithm
Frequency of each vertex, a – indicator
For estimating the probabilities within two nodes, b - indicator
  The b-indicator examines whether the event sets of two nodes occur at two, possibly separate, time steps .

## Slide 24: Sliding window algorithm
Two steps
First step: t < w
  Frequency of each vertex-node
  Probability of occurrence
  Frequency of vV within the occurrence of some node u V
  Conditional probability

## Slide 25: Sliding window algorithm
Second step: t > w
  Frequency of each vertex-node within the last w time
  Probability of occurrence
  Frequency of vV within the last w after the occurrence of some node u V
  Conditional probability:

## Slide 26: Sliding window algorithm

## Slide 27: Event processing
A method of tracking and analyzing (processing) streams of information (data) about things that happen (events), and deriving a conclusion from them
Complex event processing, or CEP, is event processing that combines data from multiple sources to infer events or patterns that suggest more complicated circumstances
Techniques for CEP
  Event-pattern detection
  Event abstraction
  Event filtering
  Event aggregation and transformation
  Modeling event hierarchies

## Slide 28: CEP categories
Two main categories
  Aggregation-oriented CEP: an aggregation-oriented CEP solution is focused on executing on-line algorithms as a response to event data entering the system. A simple example is to continuously calculate an average based on data in the inbound events
  Detection-oriented CEP: focused on detecting combinations of events called events patterns or situations. A simple example of detecting a situation is to look for a specific sequence of events.

## Slide 29: Adaptive filtering of rules
Use of aging or decay function
Linear or exponential degradation
Rules probability