## Slide 1: NGS Technologies & Applications
Γιάννης Βατσέλλας, PhD
ΕΛΕ Β’ - ΙΙΒΕΑΑ
Ελληνικό Κέντρο Γονιδιωματικής

## Slide 2
Sequencing
Why, How, technological evolution
NGS & 3rd Generation Sequencing
Terminology, Concepts, Technologies, Advantages
NGS applications
Genomics, Epigenomics, Transcriptomics
Single cell & Spatial trascriptomics
Technologies & applications
NGS data
Basic Principles of Bioinformatics Analysis & Interpretation of Results
Contents & Structure

## Slide 3
1. Προσδιορισμός της νουκλεοτιδικής αλληλουχίας ενός τμήματος DNA ή RNA
2. Προσδιορισμός γενετικών παραλλαγών:
Γενετικές ασθένειες (συμπεριλαμβανομένου του Καρκίνου)
Μεταμόσχευση οργάνων και μυελού (Ιστοσυμβατότητα - τυποποίηση HLA)
Χαρακτηρισμός του ρεπερτορίου αντισωμάτων (σύνολο των T-cell και B-cell receptors)
Καθοδήγηση της εξατομικευμένης ιατρικής
…
Sequencing
Seeking DNA/RNA sequence & variations
Κωδικοποιεί τη γενετική πληροφορία σε όλους τους οργανισμούς
SNPs
Point / small mutations
Chromosomal aberrations

## Slide 4
Automated capillary electrophoresis sequencers (1st generation or “Sanger”)
Sequencing
From Sanger sequencing to the Human Genome Project
1977
1987

## Slide 5
Need for cheaper, faster and higher-throughput technologies
The Human Genome Project
World’s largest collaborative biological project
Duration: 13 years (1990-2003)
Cost: 3 Billion $
Sequencing
From Sanger sequencing to the Human Genome Project
1990
2003
Obtain a DNA clone to sequence
Sequence the DNA clone with SHOTGUN approach
Assemble sequence data from multiple clones to determine overlap and establish a contiguous sequence to create a physical map of the human genome
Notes: SHOTGUN sequencing
Individual bacterial artificial chromosome (BAC) clones selected for DNA sequence analysis were further fragmented, and the smaller genomic DNA fragments were subcloned into vectors to generate a BAC-derived shotgun library.
The inserts were sequenced using primers matching the vector sequence flanking the genomic DNA insert, and overlapping shotgun clones were used to generate a DNA sequence spanning the entire BAC clone.
The term "shotgun" comes from the fact that the original BAC clone was randomly fragmented and sequenced, and the raw DNA sequence data was then subjected to computational analyses to generate an ordered set of DNA sequences that spanned the BAC clone.

## Slide 6
Sequencing
Generations of Sequencing Technologies
2000
1977
1987
2010

## Slide 7
1 human Whole Genome:
Duration: <48 hrs
Cost: < 300 $
2025:
ABI 3730xl
454 GS20 – 1st NGS
Solexa GA I/IIx
Sequencing
Generations of Sequencing Technologies
Illumina HiSeq 2000
x10
NovaSeq 6000
Notes: Moore's law is the observation that the number of transistors in an integrated circuit doubles about every two years.
Moore's law is an observation and projection of a historical trend. Rather than a law of physics, it is an empirical relationship.

## Slide 8
NGS
Next Generation Sequencing - Massive Parallel Sequencing
Aλληλούχιση τμημάτων ή/και ολόκληρων γονιδιωμάτων με μεγάλη ακρίβεια και σε πολύ μικρό χρονικό

## Slide 9
NGS Library:
A pool of DNA fragments with sequencing adapters attached, so that they can adhere to the sequencing flowcell and start the sequencing process.
Libraries can be created by starting from either genomic DNA or RNA.
The workflow for the preparation of a DNA sequencing library consists of three fundamental steps:
1. Fragmentation and sizing of the nucleic acid (DNA or RNA) to obtain fragments of a predefined length
2. Attachment of the adapters to the extremities of the fragments
3. Library quantification
NGS
Terms & concepts

## Slide 10
Insert:
During the library preparation stage, the sample DNA is fragmented, and the fragments of a specific size (typically 200-700 bp) are ligated (“inserted”) in between 2 oligo adapters.
The original sample DNA fragments are referred as inserts.
NGS
Terms & concepts

## Slide 11
Adapters:
Short (usually 50-60 bp) oligos bound to the 5’ and 3’ end of each DNA fragment in a sequencing library.
They are ligated to the library fragments during the library preparation stage.
They are complementary to the lawn of oligos present on the surface of Illumina sequencing flowcells
NGS
Terms & concepts
Indexes (barcodes / tags):
A unique DNA sequence residing within the sequencing adapters for downstream in silico sorting and identification.
Illumina indexes are typically between 8-12 bp.
Libraries with unique indexes can be pooled together (multiplexing).

## Slide 12
Sample multiplexing:
Large numbers of different libraries (tagged with different indexed adapters) are pooled and sequenced simultaneously during a single run. Reads are later identified and sorted via bioinformatics.
Minimizes cost & time.
Minimizes bias from different runs.
NGS
Terms & concepts

## Slide 13
Flowcell:
Where the sequencing chemistry occurs within the Sequencer. The flowcell is a glass slide containing small fluidic channels, through which polymerases, dNTPs and buffers can be pumped. The glass inside the channels is coated with short oligonucleotides complementary to the adapter sequences (lawn of adapters).
NGS
Terms & concepts

## Slide 14
Clusters:
A clonal grouping of template DNA bound to the surface of a flowcell. Each cluster is seeded by a single template DNA strand and is clonally amplified through bridge amplification until the cluster has ~ 1000 copies. Each cluster on the flow cell produces a single sequencing read. For example, 10.000 clusters on the flowcell will produce 10.000 single reads or 20.000 paired-end read.
NGS
Terms & concepts

## Slide 15
Clusters:
A clonal grouping of template DNA bound to the surface of a flowcell. Each cluster is seeded by a single template DNA strand and is clonally amplified through bridge amplification until the cluster has ~ 1000 copies. Each cluster on the flow cell produces a single sequencing read. For example, 10.000 clusters on the flowcell will produce 10.000 single reads or 20.000 paired-end read.
NGS
Terms & concepts

## Slide 16
Read:
NGS uses sophisticated instrument to determine the nucleotide sequence of a DNA or RNA sample. In general terms, a sequence read refers to the data string of A,T,C, and G bases corresponding to the sample DNA or RNA. With NGS, millions of reads are typically generated in a single sequencing run.
With Illumina technology these can be:
Single-end reads: Sequencing DNA from only one end
Paired-end reads: Sequencing both ends of a DNA fragment and generate higher quality (in regard to alignment) data.
NGS
Terms & concepts

## Slide 17
Coverage:
The average number of sequenced bases that align to each base of the reference DNA. For example, a Whole Genome sequenced at 30x coverage means that, on average, each base in the genome is sequenced 30 times.
NGS
Terms & concepts
Contigs:
A stretch of continuous sequence, in silico, generated by aligning overlapping sequencing reads.
Alignment
To compare the DNA of the sequenced sample to its reference sequence, we need to find the corresponding part of that sequence for each read in our sequencing data. This is called aligning or mapping the reads against the reference sequence. Once this is done, we can look for variation (e.g. SNPs) within the sample.

## Slide 18
Reference genome:
A fully sequenced and assembled genome that acts as a scaffold against which new sequence reads are aligned and compared. Typically, reads generated from a sequencing run are aligned to a reference genome as a first step in data analysis.
NGS
Terms & concepts

## Slide 19
NextSeq 500
NovaSeq 6000
MiSeq
NextSeq 2000
MiniSeq
iSeq
Yield:
Run times: 9 hrs – 44 hrs
Read length: Up to 600 bases
Error rate: ~0,1%
Sequencing by Synthesis (SBS) - Reversible Terminator
NovaSeq Xplus
MiSeq i100
Flowcells
1,2 Gb (iSeq)
16 Tb (Novaseq Xplus)

## Slide 20
Sequencing by Synthesis (SBS) - Reversible Terminator
https://www.youtube.com/watch?v=fCd6B5HRaZ8&t=118s

## Slide 21
NGS New technologies & platforms

## Slide 22
Sequencing errors: Wrong calls, INDELs
Low coverage at high GC% regions
Short Reads
Not able to resolve structural variants
Not able to distinguish highly homologous genomic regions
Unable to provide coverage of some repetitive regions
NGS
Challenges & Limitations

## Slide 23
Sequencing of native single molecules (no need for PCR amplification)
Real-time monitoring and analysis of sequencing data
Long read sequencing (>10kb)
Drastically improve the quality of genome assembly and the analysis of genome structures
Easier characterization of large insertions, deletions, translocations and other structural changes that may exist throughout the genomes.
3rd Generation Sequencing:
Single Molecule Real Time Long Reads Sequencing

## Slide 24
Revio
Single Molecule Real Time (SMRT) Sequencing
Vega
Yield: 500 Gb in 30 hrs run
Read length: 20-25 Kb
Error rate: 13%

## Slide 25
Nanopore Single Molecule ionic current Sequencing
Membrane protein nanopores on silicon chip
Single stranded DNA or RNA molecules are sequenced in real-time while passing through the nanopores by measuring alterations in ionic current
Identify short stretches (4-5) and not individual bases
ultra-long sequencing reads (>4 Mb)

## Slide 26
Nanopore Single Molecule ionic current Sequencing
https://www.youtube.com/watch?v=RcP85JHLmnI

## Slide 27
MinION
GridION
PromethION
=
Real-time rapid sequencing up to 420 bases/sec
Yield: 50 Gb in 72 hrs run
Read length: 50 b – >4 Mb
Error rate: 13%
Pocket size
portable device
Yield: 250 Gb in 72 hrs run
Yield: 12 Tb in 72 hrs run
Main applications
WGS, WES: De novo genome assembly, structural variations, haplotyping, CNVs detection
Metagenomics
Direct RNA sequencing: Detection of RNA modifications and full-length transcripts, characterization of fusion transcripts and RNA viruses
Nanopore Single Molecule ionic current Sequencing

## Slide 28
High throughput: More information in less time in a cost-effective manner.
Unbiased investigation of multiple biological “omics” levels:
  DNA variants and genome structure
  Gene expression analysis
  Changes in gene behavior (epigenetic modifications)
  Microbial diversity
Test from multiple genes of interest up to whole genome or transcriptome or epigenome in a single assay
  Eliminates the need for multiple tests for different genomic regions or genes or epigenetic modifications.
  Target clinically actionable regions in clinically relevant time.
Sensitivity to detect rare somatic variants, tumor subclones and circulating DNA fragments
  Easier to detect and quantify mutations in a heterogeneous sample
  Enable the detection of mutations present at lower than 5% of the DNA isolated from a tumor sample.
NGS Advances

## Slide 29
NGS Applications

## Slide 30
Μελέτη του συνόλου των γονιδίων και του ρόλου τους στις ασθένειες.
Μελέτη των γενετικών παραλλαγών σε όλο το μήκος του γονιδιώματος.
(Coding & non-coding regions)
Πως επηρεάζουν τη φυσιολογική λειτουργία των οργανισμών, την απόκριση στις διάφορες βιολογικές διεργασίες κ.α.
Διερεύνηση του ρόλου του non-coding γονιδιώματος:
Ρύθμιση γονιδιακής έκφρασης, ρύθμιση της δομής και χωροδιάταξης του γονιδιώματος κ.α.
Συγκρίσεις γονιδιωμάτων των διαφόρων ειδών για εξελικτικές μελέτες.
Whole Genome Sequencing (WGS)
The most comprehensive view of genomic alterations

## Slide 31
Hybrid NGS: (Illumina + 3rd Gen):
Whole Genome Sequencing (WGS)
3rd Generation Long Reads Sequencing
Συγκρότηση της πλήρους αλληλουχίας ολόκληρου του γονιδιώματος χωρίς κενές – αδιάβαστες περιοχές
Ευκολότερος εντοπισμός μεγάλων παραλλαγών όπως Copy Number Variations, μεγάλα insertions/deletions (indels) κ.α.
Yψηλό ποσοστό σφαλμάτων αλληλουχίας του 3rd gen Sequencing.

## Slide 32
Αλληλούχιση επιλεγμένων γενομικών περιοχών (Regions of Interest - ROIs)
Από μερικά γονίδια έως ολόκληρο το Exome (WES)
Targeted resequencing
From small gene panels to Whole Exome Seq (WES)

## Slide 33
Σχεδιασμός του panel in silico και in vitro σύνθεση των απαραίτητων ολιγονουκλεοτιδίων:
Εργαστηριακά το target selection γίνεται κατά τη διαδικασία του NGS library prep:
Targeted resequencing
From small gene panels to Whole Exome Seq (WES)
Oligonucleotide probes ή PCR primers
Probeset panel Hybridization ή multiplex PCR

## Slide 34
Πλεονεκτήματα:
Μικρότερο κόστος αλληλούχισης
Πιο διαχειρίσιμα δεδομένα: ευκολότερη ανάλυση και ερμηνεία
Πολύ υψηλότερη κάλυψη της περιοχής ενδιαφέροντος και άρα πιο αξιόπιστα αποτελέσματα
Μεγαλύτερη ικανότητα εντοπισμού σπάνιων σωματικών παραλλαγών και αναγνώρισης υποκλώνων ενός όγκου.
Ιδανική επιλογή για την κλινική πράξη: διάγνωση, πρόγνωση, εξατομικευμένη θεραπεία (Precision Medicine)
Targeted resequencing
From small gene panels to Whole Exome Seq (WES)
HLA Typing (HLA panels)
Cardiovascular Disease panels
Rare diseases panels
Cancer panels
Custom gene panels
WES
Παραδείγματα:

## Slide 35
Cancer panels workflow in BRFAA: > 5.000 clinical samples
Targeted resequencing
Cancer Gene panels

## Slide 36
Μελέτη των επιγενετικών τροποποιήσεων του DNA που ρυθμίζουν βασικές βιολογικές λειτουργίες όπως η σύνθεση και επιδιόρθωση βλαβών του DNA, η ρύθμιση της γονιδιακής έκφρασης κ.α.
Hi-C chromatin dynamics
ChIPSeq
Επίπεδα και διαταραχές της μεθυλίωσης του DNA (ιστόνες): WGBS, MeDIP-Seq…
Άλλες τροποποιήσεις των ιστονων (ακετυλίωση, φωσφορυλίωση κ.α.): ChIP-Seq, MN-Seq…
Αλληλεπιδράσεις του DNA με πυρηνικές πρωτεϊνες (μεταγραφικούς παράγοντες ή ιστόνες): ChIP-Seq, DNaseI-Seq…
Στερεοδιάταξη και προσβασιμότητα της χρωματίνης: ATAC-Seq, Hi-C…
Epigenomic Sequencing
Study epigenetic modifications of DNA

## Slide 37
provide important epidemiological and evolutionary data
Μελέτη των χαρακτηριστικών συγκεκριμένων μικροβιακών πληθυσμών
Επιτήρηση της μικροβιακής αντοχής
Μελέτη του ανθρώπινου μικροβιώματος και του ρόλου του στη φυσιολογική λειτουργία του οργανισμού αλλά και στις ασθένειες
Εντοπισμός και ανάλυση νέων παθογόνων.
Μαζική αλληλούχιση δειγμάτων που έχουν ληφθεί από συγκεκριμένα περιβάλλοντα
Metagenomic Sequencing

## Slide 38
RNA
The most diverse molecule in life

## Slide 39
Ακριβής εικόνα της αλληλουχίας και της ποσότητας του συνόλου των μορίων RNA σε μια συγκεκριμένη στιγμή
Transcriptomics
RNASeq: A powerful tool to understand the transcriptome
Gene expression profiling | Συγκριτική ανάλυση του mRNA για μελέτες διαφορικής γονιδιακής έκφρασης
Transcriptome Discovery | Ανακάλυψη νέων παραλλαγών και μεταγράφων RNA, smallRNAs και non-coding RNAs και ανάλυση των λειτουργιών τους
Transcript detection | Ανίχνευση διαφορετικών ισομορφών RNA (εναλλακτικό μάτισμα) και gene fusions που προκύπτουν από χρωμοσωμικές μετατοπίσεις και ανάλυση του ρόλου τους στις ασθένειες (π.χ. Gene fusions in Cancer)
Genomic analysis of RNA viruses | Ανάλυση και γονιδιωματική επιτήρηση RNA ιών όπως SARS-coV2, influenza κ.α.
Διαφορετικές τεχνολογίες RNASeq

## Slide 40
Bulk RNASeq
Single-Cell RNASeq
Spatial transcriptomics
Use transcriptomics to identify changes in gene signatures
No resolution of the specific cells where these changes occur
Reveal the identity of cell types present in a sample
Determine in what specific cells or cell types changes occur
See how cells within a tissue relate to each other spatially
Comprehensive omics information within the context of the microenvironment
Access unbiased discovery
Characterize cellular heterogeneity
See special context of tissue architecture
RNA Sequencing
Characterize samples at multiple resolution levels

## Slide 41
Different protocols – Same goal:
Create a library of complementary DNA fragments that represents as accurately as possible the original RNA sample and provides the desired information about its features
Total RNA extraction from biological material of choice
Enrichment of the RNA molecules of interest
rRNA: >90% of total cellular RNA
mRNA: 1-5% of total cellular RNA
Reverse transcription to cDNA
Adapter ligation, amplification, sequencing
RNA Sequencing 101

## Slide 42
Enrichment of mRNAs (polyA tail RNA molecules)
The clearest view of gene differential expression profiles
Identification of rare transcripts
Identification of low expressed transcripts
Identification of novel transcript isoforms and gene fusions
Identification of allele-specific expression
Library prep & sequencing
Quantify gene expression
Study differential gene expression profiles between 2 or more different conditions
disease vs. healthy
condition A vs. condition B vs. condition C…
multiple patients with same condition & different symptoms
many more…
Higher Sequencing Depth
mRNASeq
Differential Gene Expression Analysis

## Slide 43
Total RNASeq workflow
Profile both coding and long non-coding transcripts (>100bp)
Determine global expression levels of each transcript
Identify exons, introns and map their boundaries
Identify splicing variants.
lncRNAs have been shown to be involved in multiple cellular functions, such as regulation of gene transcription, post-transcriptional modifications and epigenetics.
Total RNASeq
Whole Transcriptome Sequencing

## Slide 44
UMIs: Eliminate PCR duplication and amplification bias
High coverage of regions of interest
Lower cost of sequencing
Removal of noise of unwanted regions – lower complexity of data interpretation
Methods for selecting and sequencing specific transcripts of interest
Probe hybridization
Primer amplification
Targeted RNASeq panels

## Slide 45
miRNAs, snoRNAs, piRNAs and other
Small noncoding RNA molecules [usually 18 – 100 nt (miRNAs: 22nt)]
Important roles in:
Mature miRNAs:
smallRNAs:
Post-transcriptional regulation
Gene silencing
smallRNASeq:
Identify known and discover new small RNAs in our samples
Analyze differential expression of small RNAs in our samples
Unlike most cellular RNAs, they possess both a 5’ phosphate group and a 3’ hydroxyl group
Allows for specific adapter ligation to both ends, enabling their selection from all other RNA species for smallRNASeq
Small-RNASeq

## Slide 46
Understand how the microbiome responds to the environment by studying the functional analysis of genes expressed by the microbiome
Estimate the taxonomic composition of the microbial population
Confirm predicted open‐reading frames (ORFs) and potentially identify novel sites of transcription and/or translation from microbial genomes.
Study of the gene expression of microorganisms within natural environments
Metatranscriptomics

## Slide 47
SARS-CoV2 genomic surveillance
70.000 SARS-CoV-2 viromes in Greece from March 2020
RNA virome sequencing
The SARS-Cov2 paradigm

## Slide 48
To date all RNASeq studies are actually sequencing cDNA
Eliminates all biases associated with transcription and provides a more accurate measure of transcript profiles.
Eliminates PCR bias.
Modified RNA bases can be directly measured, whereas with cDNA conversion they are lost.
Directly sequence full isoforms and identify splice variants.
Faster than cDNA library preparation, since no RT step is necessary.
With 3rd Generation Sequencing we now have the ability to directly sequence RNA strands without needing to convert to double stranded cDNA
Advantages of direct RNA sequencing:
Direct (native) RNA Seq
3rd Gen RNASeq

## Slide 49
Complex biological systems are determined by the coordinated functions of individual cells of different types
Conventional RNASeq methods that provide bulk transcriptome data are unable to reveal the cellular heterogeneity that drives this complexity
Single-cell sequencing is a next-generation sequencing (NGS) method that examines the genomes or transcriptomes of individual cells, providing a high-resolution view of cellular differences and a better understanding of the function in its microenvironment
Single cell RNASeq (scRNASeq)

## Slide 50
Analyze the transcriptome at single-cell level for thousands of cells in a single study:
scRNASeq
Advantages
Προσδιορισμός και χαρακτηρισμός των διαφορετικών κυτταρικών τύπων σε ετερογενείς κυτταρικούς πληθυσμούς ενός ιστού.
Ανακάλυψη νέων βιοδεικτών και ρυθμιστικών μονοπατιών.
Ανακάλυψη νέων και σπάνιων κυτταρικών τύπων κυττάρων.
Διάκριση διαφορετικών αναπτυξιακών καταστάσεων και γενεαλογικών σχέσεων.
Ταυτοποίηση μεταλλαγών, επιγενετικών τροποποιήσεων και μεταβολών στη γονιδιακή έκφραση σε συγκεκριμένα κύτταρα.
Ανίχνευση υπολειπόμενης νόσου στον καρκίνο.

## Slide 51
A. Tissue dissociation to obtain single-cells in suspension
B. Isolation and capture of the single cells, molecular barcoding, cell lysis, reverse transcription
and cDNA amplification
C. Library preparation
D. Next Generation Sequencing
E. Data analysis
D.
B.
C.
E.
A.
Patient samples
Model organism samples
Cell lines
Single cells in suspension
scRNASeq
Workflow

## Slide 52
Spatial transcriptomics
Συνδυασμός τεχνολογιών NGS και high-throughput imaging που επιτρέπουν την ανάλυση της γονιδιακής έκφρασης σε διαφορετικά σημεία του ιστού, διατηρώντας τα χωρικά χαρακτηριστικά του.
Εφαρμόζεται σε μονιμοποιημένες ιστολογικές τομές που παρέχουν ακριβείς πληροφορίες για τη χωρική τοποθέτηση των γονιδίων.
Προσδιορισμός με ακρίβεια των κυτταρικών υποτύπων και οι θέσεις τους στο μικροπεριβάλλον των ιστών.
Κατανόηση των μηχανισμών μέσω των οποίων οι κυτταρικές αλληλεπιδράσεις επηρεάζουν τη γονιδιακή έκφραση στα επιμέρους κύτταρα και στον ιστό εν γένει.
Βελτιωμένη κατανόηση του ρόλου των κυτταρικών αλληλεπιδράσεων στις διάφορες ασθένειες.
Χρώση με μορφολογικούς δείκτες για την οπτικοποίηση κυττάρων ή/και πυρήνων
Αλληλούχιση μονιμοποιημένων RNA μορίων μέσω υβριδοποίησης με μοριακούς ανιχνευτές (probes)
Στόχος:

## Slide 53
Spatial transcriptomics technologies are combining high-throughput imaging and sequencing technologies to measure single-cell gene expression in context with spatial localization within tissues
Spatial profilers
Spatial imagers
Nanostring GeoMx
(2019)
Nanostring CosMx (2022)
10x Genomics Xenium (2023)
Subcellular resolution!
No NGS required
Restricted number of genes (up to 1000)
Expensive
10x Genomics Visium
(2019)
ISS
ISS: In situ Sequencing
ISH: In situ Hybridization
Spatial transcriptomics
Technologies

## Slide 54
DNA-seq:
  Ανίχνευση παραλλαγών της γαμετικής σειράς (germline) σε κληρονομήσιμες ασθένειες.
  Ανίχνευση επίκτητων (somatic) παραλλαγών κυρίως σε νεοπλασίες.
RNA-seq:
  Ανίχνευση μεταλλάξεων, εναλλακτικής συρραφής εξονίων, που οδηγούν σε παθολογικές καταστάσεις (π.χ CE-IVD Oncomine)
  Έκφραση γονιδίων και ανάλυση μοριακής υπογραφής.
NGS data
Basic Principles of Bioinformatics Analysis & Interpretation of Results
Πληθώρα εφαρμογών, ανάλογα το ερώτημα, την πειραματική διαδικασία, το αρχικό υλικό και την επεξεργασία του.

## Slide 55
From Sequencing to Result

## Slide 56
1. Μετατροπή του σήματος σε αλληλουχία και αποπολυπλεξία των δεδομένων διαφορετικών δειγμάτων (Demultiplexing – fastq generation)
Κάθε κομμάτι που έχει αλληλουχηθεί ονομάζεται διάβασμα (read) και το σύνολο των διαβασμάτων αποθηκεύεται σε αρχεία μορφής Fastq.
Demultiplexing
Bcl2fastq

## Slide 57
@A00390:139:HGYWLDRX2:2:2101:5430:1000 1:N:0:TCGATCAA
GATTTGGGGTTCAAAGCAGTATCGATCAAATAGTAAATCCATTTGTTCAACTCACAGT
+
!*((((***+))%%%??)(%%%%).1***-+*''))**55CCF>>>>>>CCCCCCC65
Read ID & index
Αλληλουχία
Ποιότητα κάθε βάσης
(Κάθε χαρακτήρας αντιστοιχεί σε μια βάση)
Οι χαρακτήρες αντιστοιχούν σε μια τιμή –κώδικας ASCII- που μας δείχνει την πιθανότητα λάθους στο διάβασμα κάθε βάσης (Base Quality – Q):
Q=-10log10P, where P is the probability that a base is called mistakenly
Fastq file structure
ASCII symbol | Base Quality - Q | Error probability
? | Q30 | 1/1.000
I | Q40 | 1/10.000
5 | Q20 | 1/100

## Slide 58
    Συνολικός αριθμός διαβασμάτων ανά δείγμα
    Ποιότητα διαβασμάτων (Ποιότητα βάσης, μέγεθος, GC content)
Ανίχνευση συνθετικών (adapters) ή υπερ-αλληλουχημένων αλληλουχιών (over-represented sequences)
Fastq Quality Control
fastQC
Read length
Base Quality

## Slide 59
Trimming
Adapters/Barcodes & low quality bases removal
Trimmomatic
Fastx
etc.

## Slide 60
SAM files (Sequence Aligment/Map) & BAM files (Binary Alignment/Map)
Alignment to reference Genome
Bwa
Minimap
Tophat
STAR
etc.

## Slide 61
Variant detection pipelines
Read Depth and Variant Allele Frequency (VAF)
https://igv.org/

## Slide 62
GATK (Broad Institute Genome Analysis Toolkit) (https://software.broadinstitute.org/gatk)
Variant detection pipelines
Variant Calling
Mutect2: somatic variant calling
HaplotypeCaller: germline SNVs and indels
e.g.
DeepVariant: AI-based tool that leverages machine learning to improve variant calling accuracy
and many many more…

## Slide 63
Είναι εξίσου σημαντικά όλα τα variants από το πρότυπο γονιδίωμα?
Variant detection pipelines
Variant Anotation
ANNOVAR: Variant annotation & functional prediction
VEP (Ensembl Variant Effect Predictor): Variant annotation & prioritization.
etc.
Προσθήκη λειτουργικών βιολογικών πληροφοριών
Annotated .vcf
Notes: Variant annotation is the process of adding metadata and functional information to genomic variants discovered through sequencing, helping to understand their potential impact on gene function, protein structure, and disease.
This involves classifying variants based on their location relative to genes and transcripts, predicting their effects on protein sequence, and incorporating information from databases like dbSNP and population allele frequency studies.
Here's a more detailed breakdown:
1. Why Annotate Variants?
Functional Impact: Understanding how a variant changes the DNA sequence and how that change affects the gene product (RNA or protein) is crucial.
Prioritization: Annotation helps prioritize variants for further investigation by identifying those with potentially significant effects.
Disease Association: Annotation can link variants to known diseases or traits, providing insights into the genetic basis of disease.
Drug Response: Annotation can help predict how a variant might affect an individual's response to a particular drug.
2. Key Aspects of Variant Annotation
Location: Classifying variants based on their location within genes (coding regions, introns, regulatory regions, etc.).
Sequence Changes: Predicting the specific amino acid changes that a variant might cause in a protein.
Allele Frequencies: Determining how common a particular variant is in different populations.
Functional Predictions: Predicting the potential impact of a variant on gene function or protein structure using computational tools.
Database Integration: Combining information from various databases, such as dbSNP, population allele frequency databases, and databases of known disease associations.
Examples of Annotation Information
Intronic: A variant located within a non-coding region of a gene.
Missense: A variant that changes a single amino acid in a protein.
Nonsense: A variant that introduces a premature stop codon, leading to a truncated protein.
Splice Site: A variant that affects a splice site, potentially disrupting the normal splicing process.
Allele Frequency: The proportion of individuals in a population carrying a particular variant.

## Slide 64
Variant detection pipelines
Variant Filtering & interpretation

## Slide 65
Αξιολόγηση των αποτελεσμάτων από εξειδικευμένο προσωπικό βασισμένοι σε διεθνή κριτήρια και πάντα σύμφωνα κλινικό ερώτημα/πλαίσιο.
Variant detection pipelines
Variant Filtering & interpretation

## Slide 66
Alignment to reference Genome
RNASeq Alignment Principle
HISAT2
STAR
etc.
splice-aware aligners
SAM / BAM files

## Slide 67
RNASeq analysis
Quantification
Counting reads across the exons
Gene and/or transcript counts for every sample
HTSeq-count: gene-level quantification.
RSEM: transcript-level quantification.
etc.
Notes: RNA-Seq quantification involves determining the abundance of transcripts in a sample by counting the number of RNA-Seq reads that map to each transcript. This process is crucial for understanding gene expression levels and detecting changes in expression across different conditions.
Methods for RNA-Seq Quantification:
Gene-level quantification:
This approach focuses on estimating the expression of genes by counting reads that map to each gene's exons.
Transcript-level quantification:
This approach estimates the expression of individual transcripts, including isoforms, by considering how reads align to different parts of the transcript.

## Slide 68
RNASeq analysis
Differential Gene Expression
Differentially Expressed Genes (DEGs)
DESeq2 and EdgeR are the most popular tools.
Biological Replicates are required
It is very important to define the conditions for the comparison
Notes: The p-value is the probability that the observed effect within the study would have occurred by chance if, in reality, there was no true effect. Conventionally, data yielding a p<0.05 or p<0.01 is considered statistically significant.
A p-value greater than 0.05 means that deviation from the null hypothesis is not statistically significant, and the null hypothesis is not rejected.

## Slide 69
RNASeq analysis
Gene Ontology/Functional Analysis
Assign genes to specific GO Categories regarding Biological Process, Molecular Function and Cellular Component
DEGs are used as Input for Databases (KEGG, Wikipathways, Reactome etc.)
Overrepresentation Analysis (Statistical significance test of gene-GO correlation)
Enriched GO pathways identification
Notes: RNA-Seq Gene Ontology (GO) analysis is a method used to determine which biological processes, cellular locations, and molecular functions are most affected by changes in gene expression identified through RNA-Seq experiments. It identifies GO terms that are significantly enriched in a set of differentially expressed genes compared to the background genome. This analysis helps researchers understand the biological meaning and impact of gene expression changes
Purpose of GO Analysis:
GO analysis aims to interpret the results of RNA-Seq by identifying which biological processes, cellular components, and molecular functions are enriched in the differentially expressed genes.
It helps to go beyond simple lists of differentially expressed genes and understand the broader biological context.
2. How it Works:
Differential Expression:
First, RNA-Seq data is analyzed to identify genes that are significantly altered in expression between different conditions (e.g., control vs. experimental).
GO Term Association:
The identified differentially expressed genes are then compared to the Gene Ontology database to see which GO terms are associated with them.
Overrepresentation Analysis:
A statistical test (like the hypergeometric test) is used to determine if the observed association of genes with a particular GO term is significantly higher than expected by chance.
Identification of Enriched Terms:
If a GO term is significantly overrepresented, it suggests that the biological process, cellular location, or molecular function associated with that term is likely affected in the condition under study.

## Slide 70
RNASeq analysis pipeline