## Slide 1: Developing a Digital Textbook on Biomedical Technology for Health-Care Professionals
Basile Spyropoulos
Medical Instrumentation Technology Department
Technological Educational Institution of Athens Athens, Greece

## Slide 2: Objectives
The main objective of the developed Digital Textbook is to present the Technology associated to the most important Diagnostic and Treatment Procedures, applied in contemporary Biomedical Practice.
The target-group of this on-line volume comprise of both, students and those who are already engaged in professional work, such as physicians, nurses, engineers, physicists and other people trained in health-care related activities.

## Slide 3: Hypertext and Multimedia Courseware
Hypertext and Multimedia courseware are gaining importance in University education.
Transforming conventional lectures or textbook material into an electronic format, offers limited benefits thus, the structure and the content of a course should be changed in order to take advantage of the technology.
HTML-based teaching tools interact both with teachers and students and they may influence our understanding of the scientific subject matter under consideration.

## Slide 4: Combination of traditional and on-line education
Presently, it seems likely, that digital courses will not develop into a total substitute for in-person education.
Appropriate combinations of traditional and on-line educational activities will rather follow.

## Slide 5: On-line instructional material and teaching staff
On-line instructional material accessed by the students, may also partially release the teaching staff.
That could offer them more time to concentrate on more substantive tasks improving their interaction with the individual student.

## Slide 6: The educational method used
The educational method used includes the presentation of the physical principles, upon which the procedures and equipment under investigation are based, as well as, the most common technical implementation of them.
Furthermore, care has be taken to relate the described Devices to the corresponding Hospital Departments or Health-Care Facilities.
Some simple demonstrations and quizzes are included, that give the user the opportunity to become a little bit more familiar with the clinical hardware.

## Slide 7: Formats used for the development of the Digital Textbook
For the development of the digital textbook, mainly HTML was used, so that it can be used on any platform.
However, additional material has been included in following formats:
  Microsoft Word for Windows.
  Microsoft PowerPoint for Windows.
  Adobe Acrobat Portable Digital Files.
Further, objects in commercially available audio/video formats and the corresponding multimedia players and viewers, have been also included.

## Slide 8: Further features of the Digital Textbook
The content of the presentation is a combination of theoretical knowledge and practice oriented information.
Because of the enormous extend of the subject matter, the structure of the text, is rather that of an overview.
The languages used are Greek and English.
The system consists of educational modules, which presently include topics on the following subjects:

## Slide 10: The Contents of the Digital Textbook
(September 1999)
  The Physical Principles of Biomedical Technology.
  In vivo Diagnostics Technology.
  In vitro Diagnostics Technology.
  Medical Imaging Technology.
  Operating Room and Intensive Care Technology.
  Rehabilitation Technology.
  Radiation Treatment Technology.
  Hospital Infrustructure and Function.
  Environmental Protection in the Modern Hospital.

## Slide 11: The Physical Principles of Biomedical Technology
The history of the Development of Physics and Medicine.
The classical Mechanics.
Electrical Effects in Biological Structures.
Electromagnetic Radiation.
Spectroscopy and Quantum Mechanics.
The special theory of Relativity.
Nuclear Structure and Radioactivity.
Fields and Particles.
Superconductivity.
Quantum Coherence and other exotic perspectives.

## Slide 12: In vivo Diagnostic Technology
This section consists of educational needs deriving out of the most common implementations of medical equipment used for in vivo Diagnostics.
  Electrical Bio-signal Acquisition and Processing Systems.
  Bio-Transducers for non-Electrical Bio-signals.

## Slide 13: Electrical Bio-signal Acquisition and Processing Systems
From Volta to Einthoven: Electrical phenomena in the human cells.
The physical effects on the electrode-human tissue interface.
The physical meaning of Electrical Bio-signals.
Amplification and Signal Processing.

## Slide 14: Bio-Transducers for non-Electrical Bio-signals
Mechano-electric transducers
Thermo-electric transducers
Photo-electric transducers
Chemo-electric transducers

## Slide 15: In vitro Analytical Methods
This section concerns educational needs which stem out of the theoretical and practical aspects of the in vitro Analytical Methods.
  Spectrophotometry, Atomic Emission and Absorption Techniques.
  MagneticResonance Spectroscopy.
  Electrochemical Techniques.
  Chromatographic and Electrophoretic Techniques.
  Cell counting.
  Immunoassays.

## Slide 16: Spectrophotometry, Atomic Emission and Absorption Techniques
VIS/UV/IR Spectro-Photometers
Spectro-Fluorimeters
Auto-Analyzers
Flame-Photometers
FID
Atomic Absorption Spectrophotometers

## Slide 17: Magnetic Resonance Spectroscopy
Nuclear Magnetic Resonance (NMR) Spectroscopy.
Electron Paramagnetic Resonance (EPR) Spectroscopy.

## Slide 18: Electrochemical Techniques
pH-meters
Conductivity Meters
Osmometers
O2 - Detectors
CO2 - Detectors
Ion Selective Electrodes
Blood Gas Analyzers

## Slide 19: Chromatographic and Electrophoretic Techniques
Liquid Chromatography
High Performance Liquid Chromatography
Thin Layer Chromatography
Gas Chromatography
Gel Electrophoresis
Immuno-Electrophoresis and Immuno-Blotting

## Slide 20: Cell Counting
Microscopy.
Micro-Centrifugation.
Coulter Counters.
LASER-Scattering based Cell Counting.
Flow Cytometry.

## Slide 21: Immunoassays
Radio Immuno-Assay (RIA)
Enzyme Linked Immuno- Sorbent Assay (ELISA)
Luminescence Immuno-Assay (LIA)
Polarized Immuno- Fluorescence (PIF)
Immuno-Fluorescent Antibody (IFA)

## Slide 22: Medical Imaging
Conventional X-ray Equipment.
Digital Radiology.
Magnetic Resonance Imaging.
Nuclear Medicine Techniques.
Ultra-Sound Imaging.
Thermography.
Endoscopy.

## Slide 23: Therapy supporting Technologies
This section consists of educational needs deriving out of the material conditions of Medical Equipment used to support Vital Functions and in Treatment Procedures. At the present following topics are addressed:
  Operating Room and Intensive Care Technology.
  Rehabilitation Technology.
  Radiation Treatment Technology.

## Slide 24: ICU and Operating Theater Technology
Ventilators.
Anesthesia Machines.
Patient Monitors.
Decision Supporting Systems in the ICU.
Defibrillators & Cardiac Pacing.
Electrosurgery, Surgical LASERS & Cryosurgery.
Supporting Equipment.

## Slide 25: Rehabilitation Technology
Rehabilitation: A short Historical Background.
Medical Services during a Rehabilitation Program.
Professional Services during a Rehabilitation Program.
Vocational Training during a Rehabilitation Program.
The Structure of a Rehabilitation Center: Main Departments and Groups.

## Slide 26: Radiation Treatment Technology
Radio-Isotope based Teletherapy.
Intra-Cavitary Therapy.
Electron Accelerators.
Neutron Therapy.
Proton, Meson and Heavy Ions Therapy.
Therapy Simulators & Treatment Planning.
IORT.

## Slide 27: Hospital Infrustructure and Function
Introduction
Biomedical Technology: A Historical Survey.
Outpatient Department & in vivo Diagnostics Technology.
Laboratory Services & in vitro Diagnostics Technology.
Planning the Surgical Suite and the ICU/CCU.
Organizing the Medical Imaging Department.
Biomedical Equipment Management.
Information Technology Systems in modern Hospital.
Electronic Patient Records.

## Slide 28: Environmental Protection in the Modern Hospital
Electrical safety.
Chemical Safety.
Biological Hazards.
Radiation Protection.
Shielding Calculations.
Radiation Dosimetry.
Environmental Monitoring Equipment.

## Slide 29: Maintaining the Modules
The modules are continuously improved in order to adequately cover the corresponding educational needs.
The Digital Textbook allows for distance education.
By way of editing tools, self-evaluation tests, and active links, can be adapted to the individual needs of the user, facilitating the understanding of the scientific subject-matter under consideration.

## Slide 30: Reexamining Educational Policies
The new educational technologies are likely to force us, to reexamine our educational policies.
University education is not just about mastering knowledge, but rather developing the students’ personality and their special abilities, in a given social context.
The cautious application of the emerging information technologies in Education may contribute towards this goal.

## Slide 31: Applications of the developed materials
The developed materials are supporting associated teaching activities of the author in following Institutions:
  Medical Instrumentation Technology Department, Technological Educational Institution of Athens.
  European Postgraduate Course on Medical Physics, Department of Medicine, University of Patras.
  European Postgraduate Course on Biomedical Engineering, Department of Medicine, University of Patras.
  National School Of Public Health, Athens, Greece.
  National Center of Public Administration, Athens, Greece.

## Slide 32: Acknowledgements
The project is partially supported by the EU through:
  The Leonardo projects DEVMODL and CADUBALM, coordinated by the Transfer Zentrum Mittelhessen, University of Giessen, Germany.
  The Socrates project: “MEDICAL ECONOMY, HEALTH CARE, & MEDICAL ENGINEERING IN EUROPE”, coordinated by the ICAM, and the Faculte Libre de Medecine, Lille, France.
The author would like to thank Prof. Robert Greenes, MD, PhD and Puneet Chandak, MD, Decision Systems Group, Brigham & Women’s Hospital, Harvard Medical School, Boston, MA, for their valuable assistance.